May 5, 2026

Tom Hunsaker – Building Items and Projects

Misc. Items & Routine Maintenance:

Adhesive for carpet squares

Return cabinet side-panel to Hoods for refund

Check building for leaks

Mole killer

Fix blower – starts but only runs for a couple minutes before shutting off possibly due to bad gas or oil issue.

Power wash walkways

Paint ceiling board where there were leaks

Quarterly filter check and replace (as needed) – changing to semi-annual

Test weed whacker motor

Put washer in kitchen cold valve

Repair/replace equalizer valve in kitchen & janitor sinks

Fix stack leak above unit #1

Repair 4th floor big room front wall leaks

Repair LED wall light women’s bath on 3rd floor

Repair leak above South doors on roof

Rinse and wipe gym edge

Need a pounder/tamper for dirt and asphalt ??

Repair (or dispose) of gas power washer

Put washer in hot & cold side of slop sink (in foyer closet)

Clean 3rd floor windows (inside & out)

Vacuum and wash vans

Kitchen odors

Fill gaps/cracks in parking lot surfaces

Paint metal handrails (3) at steps for 3rd floor entrance. Lightly sand and then use oil-based black

Stumps, debris, limbs to dumpster every 2 weeks on Monday (trash pickup on Tiuesday)

Brush pickup starts April

Install magnets for monument sign

Repair white table legs (or dispose of tables)

Need timers for coffee pots in kitchen

Paint or replace stained ceiling tile

Address crack in concrete

Repair cables on roof canopy in south lot

Estimate life of various HVAC units. When installed, how running, any issues, etc.

Have carpenter build wood stand-offs for auditorium thermostats

Clean leaves off roof and clean drains

Adjust seals on entry doors (South)

Fix or install door plate for North hall door

Repair hole in metal frame on window well. Fast patch epoxy.  (is this for rental home?)

Get paint and other waste ready for disposal

Repair ceiling fixtures on 3rd floor level of stair well. Need tall ladder

Install new disposal and change pipes in communion room cabinet

R&R p-traps where needed

R&R lower canopy light on west lot steps

Study roof leaks – find and fix

Grease trap flooding ??

Corrugated roofing rusting from prior leaking

Waterproofing of circle brick – powerwash prior?

Scrub all seats in vans

Keep leaves away from auditorium exit doors

Paint coffee bar panels blue

Chemical/Paint Disposal:

Earthbound Waste and Paint

636-938-1188

25 Truitt Dr, Eureka, MO 63025

Paint @ $0.30/pound (no limit)

Bulbs @ $1.00/fluorescent tube (other bulbs free)

Batteries @ ???

St. Louis Household Hazardous Waste

www.hhwstl.com

314/615-8989

Rental Homes:

1346 Rock Hill

- Paint exterior of kitchen windows

- Tuckpoint or calk and paint south wall

- Repair oven door or replace

- Replace bathroom windows

1356 Rock Hill

- Repair concrete step under left door

- Take down tree in front yard under power line

- Repair or replace storm damaged fence (help cut tree & remove)